## Slide 1: How to make a Pulse Oximeter
By Pulasthi Ekanayake
A technical perspective.

## Slide 2: Pulse Oximeters

## Slide 3: Working Principle
Light is absorbed and scattered by blood and tissues
Oxygenated hemoglobin (Hb) and Deoxygenated Hb absorb wavelengths
The ratio of absorbed light can be used to find the % of oxygen in blood.
Indirect measurement needs calibration
Condition | SPO2 level
Normal | 95% to 100%
Low Oxygen (Hypoxemia) | Below 90%
Brain Gets Affected | 85% to 80%
Blue Skin (Cyanosis) | Below 67%
Amount of Light absorbed at different wavelengths

## Slide 4: Sensors
Types of sensors
  Transmissive – Patient Monitors
  Reflective – Fitness Trackers
MAX30100 (reflective)
Learn more : https://www.ti.com/lit/an/slaa655/slaa655.pdf?ts=1630158297119
Fig: Long term variation. The drop in value happens when the blood flow is stopped by a pressure cuff
Fig: Short term variation.

## Slide 5: SPO2 Calculation
Standard Equation
An alternative equation
Actual data. Red and IR values have two different scales
Light is absorbed/ reflected by different things
Telling SPO2 from observation

## Slide 6: Block Diagram

## Slide 7: Configurable Settings
LED Current
Transimpedance Amplifier Gain
Placement of Sensors

## Slide 8: Filters - Basics
High Pass filters
Low Pass filters

## Slide 9: Filtering
Low pass - 6Hz to eliminate high frequency noise
Notch Filter - 50Hz filter to eliminate powerline noise (Optional)
Add an voltage offset of VCC/2 so that AC is not clipped when the DC component is removed.
High pass - 0.8Hz to remove DC component of signal
Optional - Active low pass - 6Hz and gain of 31

## Slide 10: Special considerations
Ambient light - noise cancellation & DC offset correction to subtract the noise introduced due to ambient light in order to improve the signal-to-noise ratio (SNR).
Temperature - compensation for eliminating effects of temperature drift on LED driver and photo-diode sensing
Movement - Use a clip like enclosure to prevent relative motion
Spacing - the finger should not be tightly pressed on the sensor if using reflective type sensors.
Skin color - include a calibration step
Safety - PPG sensors are safe. Do not leave exposed metal parts and use low voltages.

## Slide 11: Heart Rate
Possible Issues – Peaks created by motion

## Slide 12: IR Thermometers

## Slide 13: Block Diagram

## Slide 14: Filtering
Low pass filter 0.1Hz

## Slide 15
Thank You